## Slide 1
idPatient
Name
CreatedDate
idPatient
idStudy
StudyName
CreatedDate
idPatient
idStudy
idSeries
idModality
SeriesName
CreatedDate
idModality
Name
idPatient
idStudy
idSeries
idFile
FilePath
CreatedDate
Patient Table
Studies Table
Modality Table
Series Table
Files Table

## Slide 2: Download Page

## Slide 3: Upload Page

## Slide 4: Viewer Page

## Slide 5: Python Code To Read a DICOM file
def getDicomValue(ds,name):
  value = ds.get(name)
  if value is None:
  return ''
  if isinstance(value, MultiValue):
  array = np.array(value)
  # Convert NumPy array to list
  return array.tolist()
  if isinstance(value, PersonName):
  return value.formatted('format_str') # Adjust as needed
  if isinstance(value, np.ndarray):
  return value.tolist() # Convert NumPy arrays to lists
  if isinstance(value, (np.floating, np.integer)):
  return value.item() # Convert NumPy scalar to native Python type
  return value
import numpy as np
from PIL import Image
from numpy import maximum, ndarray
from pydicom import dcmread, FileDataset
from pydicom.multival import MultiValue
from pydicom.valuerep import PersonName

## Slide 6
def convert_dicom(filepath, output_type="json", with_metadata=False):
  # https://pydicom.github.io/pydicom/stable/tutorials/dataset_basics.html
  # Extract dataset from dcm file
  # https://pydicom.github.io/pydicom/stable/reference/dataset.html
  ds = dcmread(filepath)
  # Extract the pixel data from dataset
  pixel_data = ds.pixel_array
  try:
  rescale_intercept = ds.RescaleIntercept
  except:
  rescale_intercept = 0
  # Convert to float to avoid overflow or underflow losses.
  pixel_data_float = pixel_data.astype(float)
  pixel_data_float += rescale_intercept
  maximum = np.amax(pixel_data_float)
  minimum = np.amin(pixel_data_float)
  # Rescaling grey scale between 0-255
  pixel_data_float_scaled = np.maximum(pixel_data_float, 0) / pixel_data_float.max(initial=0) * 255.0
  # Convert to uint8 ndarray
  pixel_data_uint8_scaled = np.uintc(pixel_data_float_scaled)
  SliceLocation = getDicomValue(ds,'SliceLocation')
  ImageOrientationPatient = getDicomValue(ds,'ImageOrientationPatient')
  ImagePositionPatient = getDicomValue(ds,'ImagePositionPatient')
  InstanceNumber = getDicomValue(ds,'InstanceNumber')
  if output_type == "json":

## Slide 7
  # Convert array to list
  PixelSpacing = getDicomValue(ds,'PixelSpacing')
  Modality = getDicomValue(ds,'Modality')
  SeriesDescription = getDicomValue(ds,'SeriesDescription')
  ProtocolName = getDicomValue(ds,'ProtocolName')
  PatientName = getDicomValue(ds,'PatientName')
  StudyDate = getDicomValue(ds,'StudyDate')
  StudyTime = getDicomValue(ds,'StudyTime')
  SliceThickness = getDicomValue(ds,'SliceThickness')
  SpacingBetweenSlices = getDicomValue(ds,'SpacingBetweenSlices')
  RepetitionTime = getDicomValue(ds,'RepetitionTime')
  EchoTime = getDicomValue(ds,'EchoTime')
  ImageType = getDicomValue(ds,'ImageType')
  MagneticFieldStrength = getDicomValue(ds,'MagneticFieldStrength')
  SeriesNumber = getDicomValue(ds,'SeriesNumber')
  NumberOfFrames = getDicomValue(ds,'NumberOfFrames')
  StudyDescription = getDicomValue(ds,'StudyDescription')
  output_json = {
  "slices":[{
  "image": pixel_data_uint8_scaled.tolist(),
  "InstanceNumber": InstanceNumber,
  "SliceLocation": SliceLocation,
  "ImageOrientationPatient": ImageOrientationPatient,
  "ImagePositionPatient": ImagePositionPatient,
  "filepath": filepath,
  }],
  "width": ds.Columns,
  "height": ds.Rows,
  "minimum": float(minimum),
  "maximum": float(maximum),
  "Modality":Modality,
  "SeriesDescription":SeriesDescription,
  "PatientName":PatientName,
  "StudyDate":StudyDate,
  "StudyTime":StudyTime,
  "SliceThickness":SliceThickness,
  "SpacingBetweenSlices":SpacingBetweenSlices,
  "ProtocolName":ProtocolName,
  "RepetitionTime": RepetitionTime,
  "EchoTime": EchoTime,
  "MagneticFieldStrength": MagneticFieldStrength,
  "SeriesNumber": SeriesNumber,
  "NumberOfFrames": NumberOfFrames,
  "PixelSpacing": PixelSpacing,
  "ImageType": ImageType,
  "StudyDescription":StudyDescription
  }
  if with_metadata:
  output_json["metadata"] = ds.to_json_dict()
  return output_json
  return {
  "image": pixel_data_uint8_scaled.tolist(),
  "InstanceNumber": InstanceNumber,
  "SliceLocation": SliceLocation,
  "ImageOrientationPatient": ImageOrientationPatient,
  "ImagePositionPatient": ImagePositionPatient,
  "filepath": filepath,
  }